INFORMACIÓN ADICIONAL

Nombre del trabajo:

ESTUDIO Y CÁLCULO DE EFICIENCIAS DE, CALENTADORES AGUA DE ALIMENTACIÓN, TANQUE DESAIREADOR PRINCIPAL, TORRES DE ENFRIAMIENTO CALENTADOR AIRE REGENERATIVO DE LA  COMPAÑÍA ELÉCTRICA DE SOCHAGOTA TERMOPAIPA IV

Autores:

JOSÉ JIMENO ALVARADO

Asesor:

Dr. GERMÁN ARIAS

Especialización:

PRODUCCIÓN Y OPERACIONES

Palabras clave:

- Entalpia

- Termodinámica

- Energía

- sobrecalentado

- Condensador

- Domo

- CAR

- Procontrol

- Predictivo

- Ciclo

Resumen o contenido:

La termoeléctrica 150 Mw es controlada por un sistema llamado PROCONTROL®, basado sobre lógica control, implica toda la tecnología de medición, control análogo y binaria, mantiene comunicación operador y estaciones, el sistema es flexible y es la razón para integrarle los cálculos propuestos de eficiencias de elementos estudiados aquí, PROCONTROL maneja aplicación de cálculo ENTHALPY CALCULATOR E1, esta función integrará las ecuaciones cuando gerencia de Termopaipa lV autorice, una vez sean implementadas en el sistema, las eficiencias controlaran  en tiempo real y brindarán oportunamente si procesos termodinámicos han presentado alguna falla, o si efectividad baja, las eficiencias logran el diagnostico proceso y es una forma de manejar mantenimiento predictivo en línea, además predice progreso de  rotura tubería interna o fuga.

The power plant of 150 Mw is controlled through a system called PROCONTROL®, established on a control logical, the system as a whole involves measurement technology, binary and analog control technology, communication with the operator and supervision stations, the system is flexible and this is reason for incorporate calculate proposed about efficiencies of each elements studied here, PROCONTROL® has an application called ENTHALPY CALCULATOR E1, this function can integrate the equations studied when the management  authorized, once are implemented in the system the efficiencies can be controlled, in real time and give information if the thermodynamic process  has some fail or leakage, or if process has effective downward  trend, through efficiencies, the process has diagnosis on line and a feed way a predictive maintenance, also help to predict the progress like an internal  broken pipe.